## Slide 1: Solar Power Plant : PV Cell Selection
By :
Deepthi Gadhiraju
Puneet Kartar
Omesh Lal Shreshta
Rajarshi Chatterjee
Notes: <number>

## Slide 2: Extension of a previous project
Where to Put Solar Power? (Spring ‘09)
- Jake Berlin
- Arnoud Boksteijn
- Andrew Ward
Award winner
Notes: <number>

## Slide 3: Key Data Inputs used in the previous project
Cost, lifetime, and efficiency of a typical solar power plant
Prevailing market prices
Real estate factors
Discount Rate: assumed to be 10%
  Project Site – New York
Notes: <number>

## Slide 4: Selection of Photo-Voltaic Cells
A PV cell is a device that converts the energy of sunlight directly into electricity by the photovoltaic effect.
The performance of a solar cell is measured in terms of its efficiency at turning sunlight into electricity.
-Efficiency ?
- Costs ?
Notes: <number>

## Slide 5: Electricity from PV Cells
A typical commercial solar cell has an efficiency of 15%-about one-sixth of the sunlight striking the cell generates electricity.
Low efficiencies mean that larger arrays are needed, and that means higher cost.
Improving solar cell efficiencies while holding down the cost per cell is an important goal of the PV industry.

## Slide 6: Managerial Problem
Decision Variables
Number of cells required from each module type, for 30MW plant in selected location (here, New York).
Objective
Minimize the cost of implementing the PV module plant that generates at least the expected power 100% of the time within a budget of $30 Million.
Constraints
  For each type of cell, plant capacity should be equal to or greater than the power the plant is claiming to produce.
  The number of modules should be integers.
  The cost of building each plant should be less than $30 Million.

## Slide 7: Comparison of PV cells
Monocrystalline Silicon
Monocrystalline a-Silicon
Polycrystalline Silicon
String Ribbon Poly
Amorphous Thin Film
Notes: <number>

## Slide 8: Factors Affecting PV Efficiency
Monthly Averaged Insolation Incident On A Horizontal Surface (kWh/m2/day)
Monthly Averaged Daylight Hours (hours)
Monthly Averaged Daylight Cloud Amount (%)
Direct sun shine hours received per day
Minimum Difference From Monthly Averaged Insolation(%)
Maximum Difference From Monthly Averaged Insolation(%)
Equivalent Number Of NO-SUN Or BLACK Days (days) in a year.

## Slide 9: Factors Affecting Cost
Cost of panels
Land cost
Transportation costs
  Shipping weight
  Distance from NY
  
Model | Power at STC(W) | Module efficiency(%) | Length (Inches) | Width(Inches) | Area(inches) | Price | Production Location | Distance from NY(Miles)
Monocrystalline silicon(SolarWorld) | 175 | 13.40% | 63.9 | 32 | 2044.8 | $745 | Oregon | 2900
Monocrystalline a-silicon(Sanyo) | 205 | 16.30% | 62.2 | 31.4 | 1953.08 | $825 | Arkansas | 1100
Polycrystalline silicon(Sharp) | 224 | 13.70% | 64.6 | 39.1 | 2525.86 | $720 | Tenesse | 1000
String Ribbon polycrystalline(EverGreen Solar) | 200 | 12.70% | 65 | 37.5 | 2437.5 | $671 | Massachesutes | 200
amorphous silicon thin film panel(Kaneka Soalr) | 60 | 6.30% | 37.79 | 38.97 | 1472.6763 | $227 | Texas | 1600
STC conditions |  |  |  |  |  |  |  | 
Irradiance | 1000 | Watt per Sq.meter |  |  |  |  |  | 
cell Temperature | 25 | C |  |  |  |  |  | 
Power at STC | 176.7759045 | W |  |  |  |  |  | 
Cost with Freight per mile per lb | $0.00015 |  |  |  |  |  |  | 

## Slide 10: Model Formulation
Estimating Required Solar Electric (PV) System Size to Replace a Specified Amount of Utility (grid) electricity
We considered 5 types of photovoltaic (PV) solar cells.
Calculate the Solar Electric (PV) System output for each type of cell used, i.e. we need to convert Power(kW) to Energy (kWh), One kilowatt-hour (1 kWh) means an energy source supplies 1,000 watts (1 kW) of energy for one hour.
If the PV panels are shaded for part of the day, the output would be reduced in accordance to the shading percentage.

## Slide 11
Notes: <number>

## Slide 13: Risk Assessment
Variation in sunlight incident on the solar panels changes the power output.
Monthly Averaged Insolation Incident On A Horizontal Surface (kWh/m2/day)
Minimum Difference From Monthly Averaged Insolation(%)
Maximum Difference From Monthly Averaged Insolation(%)

## Slide 15: Forecast

## Slide 16: Conclusion
String Ribbon gave the least implementation cost but its efficiency was affected by random weather conditions, and thus was effective only 58% of the time.
Amorphous Silicon Thin Film, Monocrystalline a-Silicon and Polycrystalline Silicon met the power requirements 100% of the time, of which using Polycrystalline Silicon was optimal.
Winner – Polycrystalline Silicon